## EWG Allegheny
The following contaminants and readings have been reported by the Environmental Working Group for the listed water authorities.
Contaminants | Units | EWG Health Guidelines | Legal Limits | Fox Chapel Water Authority | Oakmont Water Authority | New Kensington Municipal
Bromodichloromethane | ppb | 0.06 |  | 12.9 | 13 | 10.9
Bromoform | ppb | 0.5 |  | 1.48
Chloroform | ppb | 0.4 |  | 18.2 | 29.3 | 21.5
Chlorite | ppb | 50 | 1000
Chromium(hexavalent) | ppb | 0.02 |  | 0.244 | 0.0296 | 0.0256
Dibromochloromethane | ppb | 0.1 |  | 8.18 | 4.8 | 4.2
Dichloroacetic acid | ppb | New 0.2 |  | 8.89 | 18.6 | 17.5
Nitrate | ppm | 0.14 | 10 | 0.681 | 0.548
Radium 226&228 | ppb | 0 | 5
Total Trihalomethanes | ppb | New 0.15 | 80 | 46.9 | 47.6 | 36.8
Trichloroacetic acid | ppb | New 0.1 |  | 6.54 | 14.8 | 12.3
Additionally detected
Barium | ppb | 700 | 2000 | 103.4 |  | 50
Bromoform | ppb | 0.5 |  | 0.389 | 0.58 | 0.479
Chromium(hexavalent) | ppb | 0.02 |  |  |  | 0.0256
Chromium(Total) | ppb | 0.02 |  |  |  | 0.0286
Dibromoacetic acid | ppb | 0.04 |  | 1.08 |  | 0.856
Flouride | ppm |  | 4(2Pa.) | 0.15 | 0.627 | 0.786
Haloacetic acid(HAA5) | ppb | 0.1 | 60 | 12.2 | 28.4 | 27.2
Nitrate | ppm |  | 1 | 0.01 |  | 0.149
Nitrite | ppm |  | 1
Strontium | ppb | 1500 |  |  | 97.8 | 127.3
Vanadium | ppb | 21
1,4-Dioxane | ppb | 0.35 |  | 0.2
Molybdenum | ppb | 40 |  |  | 0.325
Cyanide | ppb | 150 |  | 7.5 |  | 2

## EWG Allegheny2
The following contaminants and readings have been reported by the Environmental Working Group for the listed water authorities.
Contaminants | Units | EWG Health Guidelines | Legal Limits | South Buffalo Township | Kittanning Suburb Water
Bromodichloromethane | ppb | 0.06 |  | 15.4 | 15.3
Bromoform | ppb | 0.5 |  | 1.31
Chloroform | ppb | 0.4 |  | 30.2 | 32.4
Chlorite | ppb | 50 | 1000
Chromium(hexavalent) | ppb | 0.02 |  | 0.0355 | 0.0555
Dibromochloromethane | ppb | 0.1 |  | 8.61 | 6.52
Dichloroacetic acid | ppb | New 0.2 |  | 13 | 18.3
Nitrate | ppm | 0.14 | 10 | 0.35 | 0.42
Radium 226&228 | ppb | 0 | 5
Total Trihalomethanes | ppb | New 0.15 | 80 | 55.4 | 54.7
Trichloroacetic acid | ppb | New 0.1 |  | 7.13 | 12.8
Additionally detected
Barium | ppb | 700 | 2000 | 41.7
Bromoform | ppb | 0.5 |  |  | 0.554
Chlorate | ppb | 210 |  | 122.9
Chromium(Total) | ppb |  | 100
Dibromoacetic acid | ppb | New 0.04 |  | 1.73
Flouride | ppm |  | 4(2Pa.) |  | 0.57
Haloacetic acid(HAA5) | ppb |  | 60 | 23.1 | 33.2
Nitrate | ppm |  | 1
Nitrite | ppm |  | 1
Strontium | ppb | 1500 |  |  | 88.8
Vanadium | ppb | 21 |  |  | 0.104
Manganese | ppb | 100 |  | 41.4

## Fox Chapel
The following contaminants and readings have been reported by the listed water authority.
Contaminants | MCL(maximum cont level | MCLG(goal) | Level detected | Units | Fox Chapel Water Authority
Haloacetic acid(HAA5) | 60 | 60 | 17 | ppb | Range:6-33 2022
Trihalomethane(Total) | 80 | 80 | 44 | ppb | Range:11-82 2022
Total Chloride | 4 | 4 | 0.85 | ppm | 2022
Lead | 15 | 0 | 90%=3.0 | ppb | 2022
Copper | 1.3 | 1.3 | 90%=.11 | ppm | 2022

## Oakmont
The following contaminants and readings have been reported by the listed water authority.
Contaminants | MCL(maximum cont level | MCLG(goal) | Level detected | Units | Oakmont Water Authority
Haloacetic acid(HAA5) | 60 | 60 | 75.4 | ppb | Range:13.4-75.4 2022
Trihalomethane(Total) | 80 | 80 | 118 | ppb | Range:17.1-118 2022
Nitrate | 10 | 10 | 0.5 | ppm | 2022
Flouride | 2 | 4 | 0.35 | ppm | 2022
Chloromines | 4 | 4 | 2.43 | ppm | Range:0.98-2.43 2022
Lead | 15 | 0 | 90%-0.54 | ppb | 2022
Copper | 1.3 | 1.3 | 90%-0.037 | ppm | 2022
Turbdity | TT=1 NTU for a single Measurement | 0 | 0.05 | NTU | 2022

## New Kensington
The following contaminants and readings have been reported by the listed water authority.
Contaminants | MCL(maximum cont level | MCLG(goal) | Level detected | Units | New Kensington
Haloacetic acid(HAA5) | 60 | 60 | 36.1 | ppb | Range:13.9-57 2022
Trihalomethane(Total) | 80 | 80 | 52.1 | ppb | Range:13.8-60.2 2022
Chlorine | 4 | 4 | 1.07 | ppm | Range: 0.09-2.2 2022
Barium | 2 | 2 | 0.031 | ppm | 2022
Flouride | 4 | 4 | 0.65 | ppm | Range: 0.37-0.97 2022
Lead | 15 | 0 | 90%<2.5 | ppb | 2022
Copper | 1.3 | 1.3 | 90%=0.042 | ppm | 2022
Turbdity | TT=1 NTU for a single Measurement | 0 | 0.18 | NTU | 2022

## South Buffalo
The following contaminants and readings have been reported by the listed water authority.
Contaminants | MCL(maximum cont level | MCLG(goal) | Level detected | Units | South Buffalo
Haloacetic acid(HAA5) | 60 | 60 | 50.3 | ppb | Range:9.38-50.3 2022
Trihalomethane(Total) | 80 | 80 | 114 | ppb | Range:33-114 2022
Chlorine | 4 | 4 | 2.2 | ppm | Range: .99-2.2 2022
Lead | 15 | 0 | 90%=1.57 | ppb | 2022
Copper | 1.3 | 1.3 | 90%=0.095 | ppm | 2022
Turbdity | TT=1 NTU for a single Measurement | 0 | 0 | NTU | 2022

## Kittanning
The following contaminants and readings have been reported by the listed water authority.
Contaminants | MCL(maximum cont level | MCLG(goal) | Level detected | Units | Kittanning
Haloacetic acid(HAA5) | 60 | 60 | 50.3 | ppb | Range:9.38-503. 2022
Trihalomethane(Total) | 80 | 80 | 112 | ppb | Range:17.9-613 2022
Chlorine | 4 | 4 | 2.2 | ppm | Range: .31-2.2 2022
Nitrate | 10 | 10 | 0.52 | ppm | 2022
Lead | 15 | 0 | 90%=0.0 | ppb | 2022
Copper | 1.3 | 1.3 | 90%=0.097 | ppm | 2022
Turbdity | TT=1 NTU for a single Measurement | 0 | 0.063 | NTU | 2019