## Cancer 1
The following potential cancer causing contaminants have been reported by the Environmental Working Group for the listed water authorities.
Contaminants above EWG guideline | Units | EWG Health Guidelines | Legal Limits | Belle Vernon | Brave | Carmichaels | Charleroi | Clariton(PA Am)
Bromodichloromethane | ppb | 0.06 |  | X | X | X | X | X
Bromoform | ppb | 0.5 |  | X |  |  | X
Chloroform | ppb | 0.4 |  | X | X | X | X | X
Chromium(hexavalent) | ppb | 0.02 |  | X |  |  | X | X
Dibromochloromethane | ppb | 0.1 |  | X | X | X | X | X
Dichloroacetic acid | ppb | 0.2 |  | X | X | X | X | X
Nitrate | ppm | 0.14 | 10 | X | X | X | X | X
Radium 226&228 | ppb | 0 | 5 |  |  | X
Total Trihalomethanes | ppb | 0.15 | 80 | X | X | X | X | X
Trichloroacetic acid | ppb | 0.1 |  | X | X |  | X | X
Hexachlorobenzene (HCB) | ppb | 0.03 | 1
Additionally detected
1,4 Dioxane | ppb | 0.35 | [5 empty] | X
Bromoform | ppb | 0.5 |  | X |  | X |  | X
Chlorate | ppb | 210 |  |  |  |  | X | X
Chromium(Total) | ppb |  | 100 |  |  |  | X | X
Flouride | ppm |  | 4(2Pa.) | X | X | X |  | X
Nitrate | ppm | 0.14 | 1 |  | X |  | X | X
Nitrite | ppm |  | 1 |  | X | X | X | X
Monochloroacetic acid | ppb | 53 |  | X |  |  | X | X

## Cancer 2
The following potential cancer causing contaminants have been reported by the Environmental Working Group for the listed water authorities.
Contaminants above EWG guideline | Units | EWG Health Guidelines | Legal Limits | Clariton(PWSA) | East Dunkard | Dunkard Valley | Mt Morris | SW Pa Water | Tri-County
Bromodichloromethane | ppb | 0.06 |  | X | X | X | X | X | X
Bromoform | ppb | 0.5 |  | X |  |  |  |  | X
Chloroform | ppb | 0.4 |  | X | X | X | X | X | X
Chromium(hexavalent) | ppb | 0.02 |  | X |  |  | X | X
Dibromochloromethane | ppb | 0.1 |  | X | X | X | X | X | X
Dichloroacetic acid | ppb | 0.2 |  | X | X | X | X | X | X
Nitrate | ppm | 0.14 | 10 | X |  |  | X | X | X
Radium 226&228 | ppb | 0 | 5 |  |  |  | X | X
Total Trihalomethanes | ppb | 0.15 | 80 | X | X | X | X | X | XX
Trichloroacetic acid | ppb | 0.1 |  | X | X | X | X | X | X
Hexachlorobenzene (HCB) | ppb | 0.03 | 1 | [5 empty] | X
Additionally detected
1,4 Dioxane | ppb | 0.35 |  | X
Bromoform | ppb | 0.5 |  |  | X | X | X | X
Chlorate | ppb | 210 |  | X |  |  | X |  | X
Chromium(Total) | ppb |  | 100 | X | X |  |  | X | X
Flouride | ppm |  | 4(2Pa.) | X |  |  | X | X | X
Nitrate | ppm | 0.14 | 1 |  |  | X |  |  | X
Nitrite | ppm |  | 1 | X |  |  | X
Monochloroacetic acid | ppb | 53 |  | X |  |  |  |  | X

## ewg121
The following contaminants and readings have been reported by the Environmental Working Group for the listed water authorities.
Contaminants | Units | EWG Health Guidelines | Legal Limits | Carmichaels Water Authority | Southwestern Pa. Water Authority | East Dunkard Water Authority
Bromodichloromethane | ppb | 0.06 |  | 9.32 | 13.5 | 12.4
Bromoform | ppb | 0.5
Chloroform | ppb | 0.4 |  | 25.6 | 42 | 31.9
Chlorite | ppb | 50 | 1000
Chromium(hexavalent) | ppb | 0.02 |  |  | 0.0481
Dibromochloromethane | ppb | 0.1 |  | 2.86 | 4.6 | 4.84
Dichloroacetic acid | ppb | 0.7 New 0.2 |  | New 14.3 | 18.3 | 3.64
Nitrate | ppm | 0.14 | 10 | 0.351 | 0.5
Radium 226&228 | ppb | 0 | 5 | detected | New 0.54
Total Trihalomethanes | ppb | 0.8 New 0.15 | 80 | 37.9 | 66.3 | 49.3
Trichloroacetic acid | ppb | 0.5 New 0.1 |  |  | 9.42 | 4.57
Additionally detected
Antimony | ppb | 1 | 6 |  | 0.125 | 0.2
Barium | ppb | 700 | 2000 | 37.8 | New 5.84 | 40.3
Bromoform | ppb | 0.5 |  | 0.0884 | 0.219 | 0.134
Chlorate | ppb | 210 |  |  | 68.1
Chromium(Total) | ppb |  | 100 |  | 0.0347
Dibromoacetic acid | ppb | New 0.04 |  | New 0.20 | New 1.29 | New 0.0979
Flouride | ppm |  | 4(2Pa.) | 0.0633 | 0.9
Haloacetic acid(HAA5) | ppb | New 0.1 | 60 | 31.6 | 26.8 | 9.74
Nitrate | ppm |  | 1 | 0.01
Nitrite | ppm |  | 1 | New 0.01 | 0.0836
Strontium | ppb | 1500 |  |  | 131
Vanadium | ppb | 21 |  |  | 0.125

## ewg221
The following contaminants and readings have been reported by the Environmental Working Group for the listed water authorities.
Contaminants | Units | EWG Health Guidelines | Legal Limits | Brave Water Authority(Clay Battelle Psd) | Mount Morris Water Authority | Dunkard Valley Jt. Municipal
Bromodichloromethane | ppb | 0.06 |  | 13.5 | 15 | 12.4
Bromoform | ppb | 0.5
Chloroform | ppb | 0.4 |  | 57.7 | 48 | 31.9
Chlorite | ppb | 50 | 1000 |  | 296.7
Chromium(hexavalent) | ppb | 0.02 |  |  | 0.0481
Dibromochloromethane | ppb | 0.1 |  | 2.94 | 5.23 | 4.84
Dichloroacetic acid | ppb | New 0.2 |  | 11.3 | 35.5 | 3.04
Nitrate | ppm | 0.14 | 10 | New 0.27 | 0.5
Radium 226&228 | ppb | 0 | 5 |  | detected
Total Trihalomethanes | ppb | New 0.15 | 80 | 74.2 | 68.1 | 49.3
Trichloroacetic acid | ppb | New 0.1 |  | 16.7 | 10.5 | 4.57
Cadmium | ppb | 0.04 | 5 |  | 0.4
Additionally detected
Aluminum | ppb | 600 |  |  |  | 405
Barium | ppb | 700 | 2000 | New 27.4 | New 5.84 | 34.7
Bromoform | ppb | 0.5 |  | 0.0452 | 0.226 | 0.111
Chlorate | ppb | 210 |  |  | 68.1
Cyanide | ppb | 150 |  |  | 2
Dibromoacetic acid | ppb |  |  | 0.446 | New 1.69 | New 0.0949
Flouride | ppm |  | 4(2Pa.) | New 0.7 | 0.78
Haloacetic acid(HAA5) | ppb |  | 60 | 20 | 32.4 | 9.74
Nitrate | ppm |  | 1 | 0.46 |  | 0.174
Nitrite | ppm |  | 1 | 0.01 | 0.0734
Strontium | ppb | 1500 |  |  | 0.131
Vanadium | ppb | 21 |  |  | 0.125

## ewg321
The following contaminants and readings have been reported by the Environmental Working Group for the listed water authorities.
Contaminants | Units | EWG Health Guidelines | Legal Limits | Tri-County Joint Municipal | Authority Borough of Charleroi
Bromodichloromethane | ppb | 0.06 |  | 21.9 | 15.6
Bromoform | ppb | 0.5 |  | 1.8 | 1.38
Chloroform | ppb | 0.4 |  | 51.9 | 32
Chlorite | ppb | 50 | 1000
Chromium(hexavalent) | ppb | 0.02 |  |  | 0.01
Dibromochloromethane | ppb | 0.1 |  | 11.4 | 8.92
Dichloroacetic acid | ppb | New 0.2 |  | New 18.5 | 9.99
Nitrate | ppm | 0.14 | 10 | New 0.31 | <1
Radium 226&228 | ppb | 0 | 5 | detected
Total Trihalomethanes | ppb | New 0.15 | 80 | 87 | 57.8
Trichloroacetic acid | ppb | New 0.1 |  | New 13.4 | 14.9
Hexachlorobenzene (HCB) | ppb | 0.03 | 1 | 0.051
Additionally detected
1,4 Dioxane | ppb | 0.35
Barium | ppb | 700 | 2000 | 28.2 | 47
Bromoform | ppb | 0.5
Chlorate | ppb | 210 |  | 49.5 | 45.2
Chromium(Total) | ppb |  | 100 | New 0.122 | 0.219
Dibromoacetic acid | ppb |  |  | New 2.84 | 0.889
Flouride | ppm |  | 4(2Pa.) | 0.492
Haloacetic acid(HAA5) | ppb |  | 60 | 37.9 | 26
Nitrate | ppm | 0.14 | 1 | New 0.255 | New 0.119
Nitrite | ppm |  | 1 |  | 0.0917
Strontium | ppb | 1500 |  | 0.156 | 0.272
Vanadium | ppb | 21
Molybdenum | ppb | 40 |  |  | 0.138
Monochloroacetic acid | ppb | New 53 |  | New 0.159 | 0.141
Xylenes (Total) | ppb |  | 10000 |  | 0.168

## ewg421
The following contaminants and readings have been reported by the Environmental Working Group for the listed water authorities.
Contaminants | Units | EWG Health Guidelines | Legal Limits | Belle Vernon Borough Municipal | Clairton(Pa. American) | Clairton(PWSA)
Bromodichloromethane | ppb | 0.06 |  | 8.49 | 13.1 | 16.5
Bromoform | ppb | 0.5 |  |  |  | 1.54
Chloroform | ppb | 0.4 |  | 36.2 | 32.5 | 26.9
Chlorite | ppb | 50 | 1000 | 694.5
Chromium(hexavalent) | ppb | 0.02 |  | 0.0599 | 0.344 | 0.535
Dibromochloromethane | ppb | 0.1 |  | 3.42 | 4.94 | 9.57
Dichloroacetic acid | ppb | New 0.2 |  | 11.1 | New 7.18 | New 11.7
Nitrate | ppm | 0.14 | 10 | 0.93 | 0.767 | 0.618
Radium 226&228 | ppb | 0 | 5
Total Trihalomethanes | ppb | New 0.15 | 80 | 48.1 | 51.1 | 54.1
Trichloroacetic acid | ppb | New 0.1 |  | 15.8 | New 8.94 | New 9.44
Haloacetic acid(HAA9) | ppb | New 0.06 |  |  | New 19.2 | New 32.7
Additionally detected
1,4 Dioxane | ppb | 0.35 |  |  | 0.0188 | 0.2
Barium | ppb | 700 | 2000 | 33.7 |  | 34.4
Bromoform | ppb | 0.5 |  | 0.803 | 0..563
Chlorate | ppb | 210 |  | 8.13 | 179.4 | 164.1
Chromium(Total) | ppb |  | 100 |  | 0.286 | 0.392
Dibromoacetic acid | ppb |  |  | 5.75 | New 0.263
Flouride | ppm |  | 4(2Pa.) | 0.0543 | 0.543 | 0.788
Haloacetic acid(HAA5) | ppb |  | 60 | 21.3 | 15.9 | 16.4
Nitrate | ppm |  | 1
Nitrite | ppm |  | 1 |  | 0.0333 | 0.0022
Strontium | ppb | 1500 |  | 0.0433 | 0.187 | 0.122
Cyanide (Free) | ppb | 150 |  |  |  | 9
Molybdenum | ppb | 40 |  |  | 0.15
Monochloroacetic acid | ppb | New 53 |  | New 0.514 |  | New 0.170
Xylenes (Total) | ppb |  | 10000
Tritium | pCi/l | 400 |  |  | 35.63

## Tri-County
The following contaminants and readings have been reported by the listed water authority.
Contaminants | MCL(maximum cont level | MCLG(goal) | Level detected | Units | Tri-County Municipal Water Authority
Haloacetic acid(HAA5) | 60 | 60 | 42.7 | ppb | Range: 15.8-42.7 2022
Trihalomethane(Total) | 80 | 80 | 94.9 | ppb | Range: 55-94.9 2022
Nitrate | 10 | 10 | 0.31 | ppm | 2022
Barium | 2 | 2 | 0.0427 | mg/l | 2022
Lead | 15 | 0 | 90%-3.059 | ppb | 2022
Copper | 1.3 | 1.3 | 90%-0.05 | ppm | 2022
Turbdity | TT=1 NTU for a single Measurement | 0 | 0 | NTU | 2022

## PAW Aldrich Station
The following contaminants and readings have been reported by the listed water authority.
Contaminants | MCL(maximum cont level | MCLG(goal) | Level detected | Units | Pa. American Water (Aldrich Station)
Haloacetic acid(HAA5) | 60 | 60 | 21.6 | ppb | 2022
Trihalomethane(Total) | 80 | 80 | 68.1 | ppb | 2022
Nitrate | 10 | 10 | 0.67 | ppm | 2022
Chlorine | 4 | 4 | 0.63 | ppm | 2022
Fluoride | 2 | 2 | 1.01 | ppm | 2022
Nitrite | 1 | 1 | 0.033 | ppm | 2022
Lead | 15 | 0 | 90%-.004 | ppb | 2022
Copper | 1.3 | 1.3 | 90%-0.183 | ppm | 2022
Turbdity | TT=1 NTU for a single Measurement | N/A | 0.1 | NTU | 2022

## Charleroi
The following contaminants and readings have been reported by the listed water authority.
Contaminants | MCL(maximum cont level | MCLG(goal) | Level detected | Units | Authority of the Borough of Charleroi
Haloacetic acid(HAA5) | 60 | 60 | 33.6 | ppb | Range: 15.1-44.4 2022
Trihalomethane(Total) | 80 | 80 | 56.3 | ppb | Range: 14.4-100 2022
Nitrate | 10 | 10 | <1.0 | ppm | 2022
Chlorine | 4 | 4 | 1.52 | ppm | Range: 0.2-1.52 2022
Lead | 15 | 0 | 90%-2.51 | ppb | 2022
Copper | 1.3 | 1.3 | 90%-0.192 | ppm | 2022
Turbdity | TT=1 NTU for a single Measurement | 0 | 0.056 | NTU | 2022

## Township of Washington(Belle Ve
The following contaminants and readings have been reported by the listed water authority.
Contaminants | MCL(maximum cont level | MCLG(goal) | Level detected | Units | Municipal Authority of the Township of Washington
Haloacetic acid(HAA5) | 60 | 60 | 24.7 | ppb | Range: 13.5-43.2 2022
Trihalomethane(Total) | 80 | 80 | 61.3 | ppb | Range: 29.9-105 2022
Nitrate | 10 | 1 | 0.404 | ppm | 2022
Chlorine | 4 | 4 | 1.61 | ppm | Range: 1.61-2.52 2022
Fluoride | 2 | 2 | 0 | ppm | 2022
Cyanide | 0.2 | N/A | 0 | ppm | 2022
Lead | 15 | 0 | 90%-0 | ppb | 2022
Copper | 1.3 | 1.3 | 90%-0.12 | ppm | 2022
Turbdity | TT=1 NTU for a single Measurement | 0 | 0.05 | NTU | 2022

## PWSA
The following contaminants and readings have been reported by the listed water authority.
Contaminants | MCL(maximum cont level | MCLG(goal) | Level detected | Units | PWSA
Free Chlorine | 4 | 4 | 1.1 | ppm | 2019
Calcium |  |  | 25 | ppm | 2022
Fluoride | 2 | 4 | 0.8 | ppm | 2022
Nitrate | 10 | 10 | 0.835 | ppm | 2022
Bromide |  |  | 36.2 | ppb | 2019
Barium | 2 | 2 | 0.027 | ppm | 2022
Orthophosphate |  |  | 0.017 | ppm | 2019
Nickel |  |  | 0.0021 | ppm | 2019
HAA5 | 60 | N/A | 21.6 | ppb | Range: 2.8-30.6 2022
TTHM | 80 | N/A | 54 | ppb | Range: 28-54.9 2022
Lead | 15 | 0 | 90%-.004 | ppb | 2022
Copper | 1.3 | 1.3 | 90%-.183 | ppm | 2022
Turbdity | TT=1 NTU for a single Measurement | 0 | 0.13 | NTU | 2022

## Carmichaels
The following contaminants and readings have been reported by the listed water authority.
Contaminants | MCL(maximum cont level | MCLG(goal) | Level detected | Units | Carmichaels Water Authority
Barium | 2 | 2 | 0.025 | mg/l | 2020
Flouride | 2 | 2 | 0.23 | mg/l | 2020
Nitrate | 10 | 10 | 0.1 | mg/l | 2019
Nitrite | 1 | 1 | 0.01 | mg/l | 2019
Haloacetic Acids(HAA5) | 60 | NA | 31.8 | ppb | Range: 20.3-38.6 2020
Trihalomethane | 80 | NA | 53 | ppb | Range: 13-102 2020
Alpha/excel radon & uranium | 15 | 0 | 3.1 | pCi/l | 2016
Lead | 15 | 0 | 90%-0 | ppb | 2020
Copper | 1.3 | 1.3 | 90%-0.02 | ppm | 2020
Turbidity | TT=1 NTU for a single Measurement | 0 | 0.026 | NTU | 2020

## Southwest
The following contaminants and readings have been reported by the listed water authority.
Contaminants | MCL(maximum cont level | MCLG(goal) | Level detected | Units | Southwestern Pa. Water Authority
Flouride | 2 | 2 | 0.9 | ppm | 2022
Nitrate | 10 | 10 | 0.3 | ppm | 2022
Chlorine | MRDL-4 | MRDLG-4 | 1.9 | ppm | 2022
Trihalomethane(Total) | 80 | NA | 43 | ppb | Range: 36-81 2022
Haloacetic acid(HAA5) | 60 | NA | 26.8 | ppb | Range:25-35 2022
Radium 226&228 | 5 | 0 | 1.3 | pCi/l | 2011
Gross Beta | 50 | 0 | 12 | pCi/l | 2011
Lead | 15 | 0 | 90%-.0005 | ppm | 2022
Copper | 1.3 | 1.3 | 90%-.02 | ppm | 2022
Turbidity | TT=1 NTU for a single Measurement | 0 | 0.23 | NTU | 2022

## East Dunkard
The following contaminants and readings have been reported by the listed water authority.
Contaminants | MCL(maximum cont level | MCLG(goal) | Level detected | Units | East Dunkard Water Authority
Barium | 2 | 2 | 0.0295 | ppm | 2022
Trihalomethane(TTHM) | 80 | NA | 37.2 | ppb | Range: 18-68 2022
Haloacetic acid(HAA5) | 60 | NA | 17.4 | ppb | Range:0-38.6 2022
Chlorine | MRDL-4 | MRDLG-4 | 1.28 | ppm | 2022
Lead | 15 | 0 | 90%-16.1 | ppb | 2022
Copper | 1.3 | 1.3 | 90%-0.151 | ppm | 2022
Turbidity | TT=1 NTU for a single Measurement | 0 | 4.075 | NTU | 2022

## Brave
The following contaminants and readings have been reported by the listed water authority.
Contaminants | MCL(maximum cont level | MCLG(goal) | Level detected | Units | Brave Water Authority(CB Psd)
Barium | 2 | 2 | 0.0274 | ppm | 2022
Flouride | 4 | 4 | 0.7 | ppm | 2022
Nitrate | 10 | 10 | 0.27 | ppm | 2022
Haloacetic acid(HAAC5) | 60 | NA | 20 | ppb | Range- 3-26 2022
Trihalomethane(Total) | 80 | NA | 55 | ppb | Range-19-81 2022
Lead | 15 | 0 | 90%-0.61 | ppb | 2022
Copper | 1.3 | 1.3 | 90%-0.0107 | ppm | 2022
Turbidity | TT=1 NTU for a single Measurement | 0 | 0.6 | NTU | 2022

## Mount Morris
The following contaminants and readings have been reported by the listed water authority.
Contaminants | MCL(maximum cont level | MCLG(goal) | Level detected | Units | Mount Morris Water Authority(MUB)
Barium | 2 | 2 | 0.044 | ppm | 2019
Flouride | 4 | 4 | 0.61 | ppm | 2019
Nitrate | 10 | 10 | 0.34 | ppm | 2019
Trihalomethane(Total) | 80 | 0 | 52.5 | ppb | Range:20.7-102 2019
Haloacetic acid(HAA5) | 60 | NA | 18 | ppb | Range:10.1-24 2019
Lead | 15 | 0 | 90%-1.8 | ppb | 2019
Copper | 1.3 | 1.3 | 90%-0.0306 | ppm | 2019
Turbdity | TT=1 NTU for a single Measurement | 0.1 | 0.013 | NTU | 2019