## EWG Ohio
The following contaminants and readings have been reported by the Environmental Working Group for the listed water authorities.
Contaminants | Units | EWG Health Guidelines | Legal Limits | Shippingport Borough | Center Township | Ambridge Water Authority
Bromodichloromethane | ppb | 0.06 |  | 13 | 8.58 | 7.91
Bromoform | ppb | 0.5 |  |  | 3.89
Chloroform | ppb | 0.4 |  | 33.9 | 4.27 | 41.8
Chlorite | ppb | 50 | 1000
Chromium(hexavalent) | ppb | 0.02 |  |  | 0.0513 | 0.0419
Dibromochloromethane | ppb | 0.1 |  | 4.91 | 10.8 | 0.276
Dichloroacetic acid | ppb | New 0.2 |  | 22.7 | 7.16 | 21.1
Nitrate | ppm | 0.14 | 10 | 0.933 | 0.578
Radium 226&228 | ppb | 0 | 5 |  | 0.51
Total Trihalomethanes | ppb | New 0.15 | 80 | 52 | 27.4 | 50
Trichloroacetic acid | ppb | New 0.1 |  | 35.1 | 1.82 | 26.7
Haloacetic acid(HAA9) | ppb | 0.06 |  |  | 20 | 53.7
Additionally detected
Barium | ppb | 700 | 2000 | 34.3 | 85.5 | 27.2
Bromoform | ppb | 0.5 |  | 0.26
Chromium(hexavalent) | ppb | 0.02
Chromium(Total) | ppb | 0.02 |  |  | 0.143 | 0.0471
Dibromoacetic acid | ppb | 0.04 |  | 1.08 | 3.14
Flouride | ppm |  | 4(2Pa.) |  | 0.12 | 0.0687
Haloacetic acid(HAA5) | ppb | 0.1 | 60 | 47.6 | 7.76 | 39.2
Nitrate | ppm |  | 1 |  |  | 0.175
Nitrite | ppm |  | 1
Strontium | ppb | 1500 |  |  | 0.107 | 0.0844
Vanadium | ppb | 21
1,4-Dioxane | ppb | 0.35
Molybdenum | ppb | 40 |  |  | 0.125
Cyanide | ppb | 150
Dalapon | ppb |  | 200 | 0.673
Tritium | pCi/l | 400 |  | 4.42
Selenium | ppb | 30 | 50 |  | 4.65

## EWG Ohio2
The following contaminants and readings have been reported by the Environmental Working Group for the listed water authorities.
Contaminants | Units | EWG Health Guidelines | Legal Limits | Moon Township | West View Water | East Liverpool City
Bromodichloromethane | ppb | 0.06 |  | 16.5 | 12.1 | 16.5
Bromoform | ppb | 0.5 |  | 2.58 | 1.24 | 0.995
Chloroform | ppb | 0.4 |  | 17.6 | 20.7 | 29.4
Chlorite | ppb | 50 | 1000
Chromium(hexavalent) | ppb | 0.02 |  | 0.0499 | 0.065 | 0.0695
Dibromochloromethane | ppb | 0.1 |  | 14.1 | 7.09 | 8.79
Dichloroacetic acid | ppb | New 0.2 |  | 7.85 | 6.69 | 9
Nitrate | ppm | 0.14 | 10 | 0.688 | 0.601 | 0.812
Radium 226&228 | ppb | 0 | 5
Total Trihalomethanes | ppb | New 0.15 | 80 | 51.8 | 41.4 | 55.6
Trichloroacetic acid | ppb | New 0.1 |  | 4.09 | 3.74 | 11.7
Dibromoacetic acid | ppb | 0.04 |  |  | 1.37 | 1.74
Haloacetic acid(HAA9) | ppb | 0.06 |  | 25.3 | 23.1 | 32
Additionally detected
Barium | ppb | 700 | 2000 | 11 | 26.3 | 32.8
Bromoform | ppb | 0.5
Chromium(hexavalent) | ppb | 0.02
Chromium(Total) | ppb | 0.02 |  |  | 0.0333 | 0.0892
Dibromoacetic acid | ppb | 0.04 |  | 3 | 1.33 | 1.19
Flouride | ppm |  | 4(2Pa.) | 0.582 | 0.564 | 0.88
Haloacetic acid(HAA5) | ppb | 0.1 | 60 | 15 | 12.6 | 22.3
Nitrate | ppm |  | 1
Nitrite | ppm |  | 1 |  | 0.0225
Strontium | ppb | 1500 |  | 0.148 | 0.128 | 0.144
Vanadium | ppb | 21 |  |  |  | 0.081
1,4-Dioxane | ppb | 0.35
Molybdenum | ppb | 40 |  | 0.325 | 0.313 | 0.993
Cyanide | ppb | 150 |  | 6.33
Dalapon | ppb |  | 200
Tritium | pCi/l | 400
Selenium | ppb | 30 | 50
Chlorate | ppb | 210 |  | 155
Monochloroacetic acid | ppb | 53 |  | 0.428 | 0.197 | 0.439

## Shippingport
The following contaminants and readings have been reported by the listed water authority.
Contaminants | MCL(maximum cont level | MCLG(goal) | Level detected | Units | Shippingport
Haloacetic acid(HAA5) | 60 | 60 | 50 | ppb | Range:28-55.2 2017
Trihalomethane(Total) | 80 | 80 | 85 | ppb | Range:30.3-128 2017
Chlorine | 4 | 4 | 0.48 | ppm | 2017
Barium | 2 | 2 | 0.03 | ppm | 2017
Sulfate | 250 |  | 75.9 | ppm | Range: 50.8-75.9 2017
Dalapon | 200 | 200 | 1.19 | ppb | Range: 1.01-1.19 2017
Lead | 15 | 0 | 90%=7.26 | ppb | 2017
Copper | 1.3 | 1.3 | 90%=.624 | ppm | 2017
Turbdity | TT=1 NTU for a single Measurement | 0 | 1.7 | NTU | 2017

## Center Twp
The following contaminants and readings have been reported by the listed water authority.
Contaminants | MCL(maximum cont level | MCLG(goal) | Level detected | Units | Center Township
Haloacetic acid(HAA5) | 60 | 60 | 12.01 | ppb | Range: 4.74-20.1 2022
Trihalomethane(Total) | 80 | 80 | 39.5 | ppb | Range: 13.3-94.4 2022
Chlorine | 4 | 4 | 0.81 | ppm | 2022
Barium | 2 | 2 | 0.03 | ppm | 2022
Lead | 15 | 0 | 90%=2 | ppb | 2019
Copper | 1.3 | 1.3 | 90%=.301 | ppm | 2019
Turbdity | TT=1 NTU for a single Measurement | 0 | 0.528 | NTU | 2022

## Ambridge
The following contaminants and readings have been reported by the listed water authority.
Contaminants | MCL(maximum cont level | MCLG(goal) | Level detected | Units | Ambridge
Haloacetic acid(HAA5) | 60 | 60 | 40.2 | ppb | Range:27.4-56.5 2022
Trihalomethane(Total) | 80 | 80 | 53.6 | ppb | Range:41.3-81 2022
Cyanide | 200 | 200 | 4.1 | ppb | 2019
Barium | 2 | 2 | 0.026 | ppm | 2022
Flouride | 4 | 4 | 0.091 | ppm | 2022
Lead | 15 | 0 | 90%=6.67 | ppb | 2022
Copper | 1.3 | 1.3 | 90%=0.099 | ppm | 2022
Turbdity | TT=1 NTU for a single Measurement | 0 | 0.21 | NTU | 2022

## Moon Twp
The following contaminants and readings have been reported by the listed water authority.
Contaminants | MCL(maximum cont level | MCLG(goal) | Level detected | Units | Moon Township
Haloacetic acid(HAA5) | 60 | 60 | 12 | ppb | Range:6-18 2022
Trihalomethane(Total) | 80 | 80 | 62 | ppb | Range:26-83 2022
Chlorine | 0.2 | 4 | 0.41 | ppb | Range: 0.41-1.92 2022
Barium | 2 | 2 | 0.06 | ppm | 2022
Flouride | 4 | 4 | 0.44 | ppm | 2022
Nitrate | 10 | 10 | 0.7 | ppm | 2022
Lead | 15 | 0 | 90%=1.97 | ppb | 2022
Copper | 1.3 | 1.3 | 90%=0.12 | ppm | 2022
Turbdity | TT=1 NTU for a single Measurement | 0 | 0.05 | NTU | 2022

## West View
The following contaminants and readings have been reported by the listed water authority.
Contaminants | MCL(maximum cont level | MCLG(goal) | Level detected | Units | West View
Haloacetic acid(HAA5) | 60 | 60 | 18.2 | ppb | Range:1-43 2022
Trihalomethane(Total) | 80 | 80 | 63.5 | ppb | Range:18-63.5 2022
Chlorine | 0.2 | 4 | 1.42 | ppb | Range: 1.42-2.5 2022
Barium | 2 | 2 | 0.027 | ppm | 2022
Flouride | 4 | 4 | 0.427 | ppm | 2022
Nitrate | 10 | 10 | 0.1 | ppm | 2022
Cyanide | 200 | 200 | 72 | ppb | 2019
Lead | 15 | 0 | 90%=4.3 | ppb | 2022
Copper | 1.3 | 1.3 | 90%=0.19 | ppm | 2022
Turbdity | TT=1 NTU for a single Measurement | 0 | 0.062 | NTU | 2022

## East Liverpool
The following contaminants and readings have been reported by the listed water authority.
Contaminants | MCL(maximum cont level | MCLG(goal) | Level detected | Units | East Liverpool City
Haloacetic acid(HAA5) | 60 | 60 | 30.8 | ppb | Range:7.4-47.6 2022
Trihalomethane(Total) | 80 | 80 | 64.1 | ppb | Range:23.3-81.4 2022
Chlorine | 0.2 | 4 | 1.5 | ppb | Range: 1.2-1.9 2022
Barium | 2 | 2 | 0.027 | ppm | 2022
Flouride | 4 | 4 | 1.2 | ppm | 2022
Nitrate | 10 | 10 | 1.48 | ppm | 2022
Lead | 15 | 0 | 90%=0 | ppb | 2022
Copper | 1.3 | 1.3 | 90%=0.045 | ppm | 2022
Turbdity | TT=1 NTU for a single Measurement | 0 | 0.17 | NTU | 2022